## OrderForm
GeneralCOST Estimator Order Form
First Name:
Last Name:
Company:
Address1:
Address2:
City:
State:
Zip:
Phone:
Fax:
Email:
Payment: |  | Qty | Cost | Total
Amount |  | 1 | 37 | 37
Sales Tax (CA orders)
S&H |  |  |  | 4.5
Total |  |  |  | 41.5
Payment By:
Check
Visa | No: |  | Exp:
MC | No: |  | Exp:
AMEX | No: |  | Exp:
Mail To:
CPR International, Inc.
P.O. Box 6394
Folsom, CA 95763

## QuickHelp
QUICK HELP
How can I contact CPR International, Inc, the developer of this software? | To know more about CPR International, Inc. and other construction software please visit www.cprsoft.com.
When I open GeneralCOST Estimator, why does a menu called "GeneralCOST" appear in Excel's menu bar? | In order to make our system as easy to use as possible, we added functions to the familiar existing interface, namely the Excel menu bar. The GeneralCOST menu item shall be there *only* when you are using the GeneralCOST.xls file. When you leave, it will disappear from Excel's menu.
How do I start a new estimate? | Click on "Create New Estimate" from Excel's GeneralCOST menu. This will activate the GeneralCOST wizard.
Where are cost data stored in GeneralCOST Estimator? | Cost data is stored in various worksheets representing cost categories in construction. Example: General, Sitework, Foundations etc.
How can I enter or change my Overhead and Profit applications | Use OandH worksheet.
How does GeneralCOST Estimator work? | With GeneralCOST, the main estimate is created using a convenient wizard interface which goes through all cost categories allowing you to select one or more items from each category page. Subsequently you can insert additional cost items to the estimate. The program automatically applies overhead and profits and makes city cost index adjustments.
When I click on a worksheet cell, Excel indicates it is protected. When I try to unprotect, Excel asks for password. Why? | This happens with the Trial version only. You should register to have full access to cost data worksheets.
What does City selection do? | When you select your city from the "City" page of the wizard, GeneralCOST will apply the city index (factor) to the construction costs.
How can I change my city's index? | Open the "City" worksheet by clicking on the tab. Then edit the index (factor). Use only numerics.
What should I do if my city is not in the list? | Select a city that you believe is close in terms of costs. Alternatively, you can edit an existing entry or add your city to the list (See below).
How can I add my city to the worksheet list? | Insert a blank row where your city should appear. Then, add the information. Use a factor similar to a comparable city (See GeneralCOST Help for more on adding data to lists).
How can I add and customize data in GeneralCOST data sheets? | To add, insert a blank row where your data should appear. To edit, simply change the data by overwriting it (See GeneralCOST Help for more on adding data to lists).
After finishing with the wizard, I have more items to add to the estimate. How do I do this? | Click on "Add Item to Estimate" from the GeneralCOST menu. Then select the category. The system will then open the Lookup window to add an item to the estimate.
How can I get Help? | Click on "Show GeneralCOST Help" from the GeneralCOST menu. You can also email CPR International, Inc. at cpr@cprsoft.com for your questions.
Can I add, delete or change worksheet names? | You can not add or delete worksheets that will integrate with the system. However, you may change the worksheet names for cost categories. Remember, each name must be one word (no spaces). After changes, save and reopen for the GeneralCOST menu to generate.
How do I create the estimate report? | When you click on the "Finish" button of the wizard, GeneralCOST Estimator will automatically create the estimate report in the Estimate worksheet.
How can I save the estimate report? | If you save GeneralCOST.xls file, the report will also be saved. But this is not a good idea. It is better to save the estimate file in a separate Excel file. To do this, select "Copy Estimate to New File" from the GeneralCOST menu. The system will open a new Excel file and copy the report into it.
How do I save the estimate report? | Switch to the newly created Excel estimate report file. Then simply use Excel's File > Save As function.
Why are item quantities are indicated as 1(one) in the report? | Because GeneralCOST does not know your takeoff quantities. These are highlighted in the report. It is essential to edit each additional item entry and change the quantity to the correct amount. Otherwise your estimate will not be complete.
Can I add rows and edit the estimate report? | Yes, you can. However, because there are built-in formulas, be careful not to erase or overwrite them.
After creating the report, can I change the parameters? | You can not change the parameters inside the report. To change parameters, you should run the wizard again.
How can I print the estimate report? | Select "Print Estimate" from the GeneralCOST menu or simply use Excel's File > Print function.
After I copy the estimate to a new file, how can I go back to GeneralCOST Estimator file? | Click on the "GeneralCOST.xls" button from the Taskbar.
How can I create a price quotation based on my estimate? | Select "Create price Quotation" from the GeneralCOST menu.
How can I clear the Estimate worksheet after I have copied the estimate to a new file? | Select "Clear Estimate Worksheet" from the GeneralCOST menu. This will clear the Estimate worksheet and make it ready for your next estimate. Just be sure to copy the estimate to a new file before clearing the worksheet.
How can I enter my Authorization Code? | (For Trial edition of GeneralCOST Estimator only) Click on the "Enter Authorization Code" submenu from GeneralCOST menu. Then enter the code provided.
What happens when the trial period expires? | The system will cease to function. Even if you download the trial version again, it will not function.
How can I register online? | (For Trial version of GeneralCOST Estimator only or to register additional copies) Click on "Register Online" submenu From Excel's GeneralCOST menu. Make sure that you have an Internet connection available. Using a credit card, make the payment and immediately download the registered edition from the Register Now site.
How can I register by mail? | (For Trial edition of GeneralCOST Estimator only or to register additional copies) Click on the OrderForm tab to open the Order worksheet. Fill out, print and mail with a check or Money Order. When received, we will call or email your Authorization Code.
How can I get program updates and how much does it cost? | Visit our website at http://www.cprsoft.com and download the GeneralCOST Estimator Trial version. When you open the program, enter the Authorization Code. This will activate GeneralCOST Estimator as the registered version. You are entitled to lifetime free updates.
I'm using the Trial version successfully. Why should I pay to register GeneralCOST Estimator anyway? | One reason is because it is only fair. If you receive value, why not make a fair payment. It will make you feel good. Other reasons are things like eliminating the time limitation, getting access permissions to edit and customize data, receiving free lifetime program and data updates, getting expert technical support from CPR international, Inc., creating a longlasting relationship with us as our priority customer, receiving discounts on CPR's other productivity programs.
How can I register feedback, report bugs, suggest improvements, request quote for multiple copies, seek affiliate relationship? | Email us at: cpr@cprsoft.com

## City
Location | Factor
Average City, USA | 1
Anchorage, AK | 1.33
Birmingham, AL | 0.83
Mobile, AL | 0.82
Montgomery, AL | 0.79
Tuscaloosa, AL | 0.79
Forth Smith, AR | 0.81
Little Rock, AR | 0.82
Pine Bluff, AR | 0.81
Flagstaff, AZ | 0.91
Phoenix, AZ | 0.94
Tucson, AZ | 0.91
Yuma, AZ | 0.88
Anaheim, CA | 1.12
Bakersfield, CA | 1.09
Fresno, CA | 1.14
Oakland, CA | 1.18
Riverside, CA | 1.13
Sacramento, CA | 1.13
San Diego, CA | 1.16
San Francisco, CA | 1.32
San Jose, CA | 1.34
San Luis Obispo, CA | 1.16
Santa Barbara, CA | 1.12
Santa Rosa, CA | 1.15
Boulder, CO | 0.91
Denver, CO | 1.01
Durango, CO | 0.91
Fort Collins, CO | 0.97
Bridgeport, CT | 1.04
Hartford, CT | 1.02
Stamford, CT | 1.05
Waterbury, CT | 1.04
Washington, D.C. | 0.97
Wilmington, DE | 1.02
Jacksonville, FL | 0.85
Miami, FL | 0.87
Tampa, FL | 0.83
West Palm Beach, FL | 0.87
Atlanta, GA | 0.86
Augusta, GA | 0.78
Columbus, GA | 0.78
Savannah, GA | 0.81
Hilo, HI | 1.31
Honolulu, HI | 1.3
Council Bluffs, IA | 0.94
Davenport, IA | 0.97
Des Moines, IA | 0.96
Sioux City, IA | 0.92
Boise, ID | 0.95
Lewiston, ID | 1.06
Twin Falls, ID | 0.83
Chicago, IL | 1.15
Peoria, IL | 1.05
Springfield, IL | 1.03
Evansville, IN | 0.94
Fort Wayne, IN | 0.91
Gary, IN | 0.99
Indianapolis, IN | 0.98
Terre Haute, IN | 0.94
Dodge City, KS | 0.82
Topeka, KS | 0.84
Wichita, KS | 0.88
Bowling Green, KY | 0.93
Lexington, KY | 0.88
Louisville, KY | 0.96
Paducah, KY | 0.94
Baton Rouge, LA | 0.85
Lake Charles, LA | 0.84
New Orleans, LA | 0.88
Shreveport, LA | 0.8
Boston, MA | 1.17
Lowell, MA | 1.03
Marblehead, MA | 1.24
Springfield, MA | 1.02
Worcester, MA | 1.12
Annapolis, MD | 0.93
Baltimore, MD | 0.92
Hagerstown, MD | 0.89
Augusta, ME | 0.89
Lewiston, ME | 0.9
Portland, ME | 0.95
Detroit, MI | 1.04
Grand Rapids, MI | 0.91
Lansing, MI | 1
Saginaw, MI | 0.99
Minneapolis, MN | 1.13
Rochester, MN | 0.99
Saint Paul, MN | 1.08
Joplin, MO | 0.86
Kansas City, MO | 0.98
Springfield, MO | 0.85
St. Louis, MO | 0.96
Columbus, MS | 0.73
Greenwood, MS | 0.74
Jackson, MS | 0.82
Billings, MT | 0.94
Butte, MT | 0.89
Great Falls, MT | 0.93
Missoula, MT | 0.88
Memphis, TN | 0.86
Charlotte, NC | 0.78
Greensboro, NC | 0.77
Raleigh, NC | 0.78
Wilmington, NC | 0.76
Bismark, ND | 0.85
Fargo, ND | 0.86
Grand Forks, ND | 0.82
Grand Island, NE | 0.86
Lincoln, NE | 0.92
Omaha, NE | 0.93
Concord, NH | 0.93
Manchester, NH | 0.88
Nashua, NH | 0.95
Atlantic City, NJ | 1.12
Newark, NJ | 1.17
Paterson, NJ | 1.06
Summit, NJ | 1.09
Trenton, NJ | 1.1
Albuquerque, NM | 0.92
Las Cruces, NM | 0.83
Santa Fe, NM | 0.91
Carson City, NV | 0.98
Las Vegas, NV | 1.03
Reno, NV | 0.99
Albany, NY | 0.95
Binghamton, NY | 0.97
Buffalo, NY | 1.06
Kingston, NY | 1.09
Long Island, NY | 1.33
Mount Vernon, NY | 1.18
New York City, NY | 1.29
Rochester, NY | 1.01
Syracuse, NY | 0.98
White Plains, NY | 1.15
Cincinnati, OH | 1.02
Cleveland, OH | 1.01
Columbus, OH | 0.97
Toledo, OH | 0.99
Youngstown, OH | 0.97
Lawton, OK | 0.82
Oklahoma City, OK | 0.85
Shawnee, OK | 0.78
Tulsa, OK | 0.83
Eugene, OR | 1.03
Medford, OR | 1.05
Pendleton, OR | 1.02
Portland, OR | 1.07
Salem, OR | 1.01
Allentown, PA | 0.99
Bradford, PA | 1.02
Harrisburg, PA | 0.96
New Castle, PA | 1.02
Philadelphia, PA | 1.15
Pittsburgh, PA | 1.07
Newport, RI | 1
Pawtucket, RI | 0.98
Providence, RI | 1.01
Charleston, SC | 0.77
Columbia, SC | 0.78
Greenville, SC | 0.75
Aberdeen, SD | 0.86
Pierre, SD | 0.83
Rapid City, SD | 0.82
Sioux Falls, SD | 0.86
Chattanooga, TN | 0.84
Jackson, TN | 0.72
Johnson City, TN | 0.81
Knoxville, TN | 0.83
Nashville, TN | 0.88
Austin, TX | 0.81
Dallas, TX | 0.92
El Paso, TX | 0.82
Houston, TX | 0.88
Laredo, TX | 0.79
San Antonio, TX | 0.84
Tyler, TX | 0.94
Logan, UT | 0.92
Ogden, UT | 0.9
Salt Lake, UT | 0.92
Alexandria, VA | 0.95
Lynchburg, VA | 0.82
Norfolk, VA | 0.84
Richmond, VA | 0.86
Staunton, VA | 0.78
Brattleboro, VT | 0.83
Burlington, VT | 0.92
Rutland, VT | 0.91
Richland, WA | 1.01
Seattle, WA | 1.04
Spokane, WA | 0.97
Tacoma, WA | 1.04
Yakima, WA | 1
Beloit, WI | 1.01
Eau Claire, WI | 0.99
Green Bay, WI | 1.02
Madison, WI | 0.99
Milwaukee, WI | 1.05
Wausau, WI | 0.96
Charleston, WV | 0.95
Clarksburg, WV | 0.99
Morgantown, WV | 0.98
Parkersburg, WV | 0.89
Wheeling, WV | 0.94
Casper, WY | 0.88
Cheyenne, WY | 0.93
Rawlins, WY | 0.84
Rock Springs, WY | 0.86

## OHandP
Application | %
Overhead | 15
Profit | 10

## General
Costcode | Description | Unit | Cost/unit
01 | GENERAL
01020 | PROFESSIONAL
010201000 | Building permit | Ea | 97.25
010201100 | Engineer | Hr | 77
010201200 | Architect | Hr | 75
010201400 | Draftsman | Hr | 28.5
010203160 | Supervision | Hr | 42.5
013301300 | Surveyor | Hr | 64
013301310 | Surveyor crew, 2 person | Day | 1025
01410 | TESTING
014101100 | Aggregate test | Ea | 75
014101120 | Compression test, cylinder | Ea | 45
01500 | TEMPORARY FACILITIES
015003000 | Temporary repairs | Ea | 175
015003100 | Temporary CL fencing, 5' H | Lf | 18
015003200 | Temporary lighting | Lot | 350
015003300 | Temporary power | Lot | 675
015003410 | Power pole, 100 Amp | Mon | 77.5
015003430 | Power pole, 200 Amp | Mon | 96
015003450 | Electricity per 1000 Sf | Mon | 29
015003460 | Temporary office trailer, 24' long | Mon | 200
015003500 | Temporary plumbing | Lot | 950
015004100 | Temporary roof | Lot | 1250
015004200 | Temporary board up | Lot | 850
015004300 | Temporary construction | Lot | 1200
015004400 | Portable toilet | Ea | 110
015004400 | Temporary water, 1000 Gallons | Lot | 72.5
01600 | EQUIPMENT RENTAL
016001000 | Air fan, 24" D | Day | 7.75
016001020 | Auger, horizontal boring, 45 Hp | Day | 454.51
016001040 | Pipe bender | Day | 5.95
016001060 | Backhoe, diesel, crawler, 1/2 Cy | Day | 645
016001080 | Backhoe, diesel, crawler, 1 Cy | Day | 821.1
016001100 | Backhoe-loader, wheel, 5/8 Cy | Day | 235
016001120 | Blower, garden, backpack | Day | 48.58
016001140 | Boom, telescoping, 40',gas | Day | 277.2
016001160 | Bucket, clamshell, 3/8 Cy | Day | 75
016001180 | Bucket, clamshell, 1 Cy | Day | 106.4
016001200 | Bucket, dragline, 1/2 Cy | Day | 57.12
016001220 | Concrete cart | Day | 49
016001240 | Air compressor, elec, 1.8 CFM | Day | 45.08
016001260 | Air compressor, elec, 8.5 CFM | Day | 51.8
016001280 | Air compressor, gas, 60 CFM | Day | 72.5
016001300 | Air compressor, gas, 160 CFM | Day | 115
016001320 | Compactor, roller, 2000 Lb | Day | 133
016001340 | Conveyor, concrete, 21 Ft, elec | Day | 78.05
016001360 | Core drill, electric, 2-1/2 HP | Day | 62.58
016001380 | Crane, climbing, 6000 Lb | Day | 780
016001400 | Crane, truck mount, 20 T | Day | 582.75
016001420 | Crane, truck mount, 40 T | Day | 883.75
016001440 | Crane, truck mount, hydr, 12 T | Day | 420
016001460 | Crane, truck mount, hydr, 25 T | Day | 626.15
016001480 | Crawler, cable, 1/2 CY, 15 T | Day | 367.29
016001500 | Crawler, cable, 1 CY, 25 T | Day | 510
016001520 | Crawler, cable, 2 CY, 50 T | Day | 861.35
016001540 | Cutter, bolt, 24" | Day | 11.55
016001560 | Cutter/bender, rebar | Day | 13.65
016001580 | Cutter, asphalt tile | Day | 12.15
016001600 | Cutter, ceramic tile, 12" | Day | 11.55
016001620 | Metal detector | Day | 26.25
016001640 | Drill, handheld, 65 Lb | Day | 40.25
016001660 | Drill, rotary, elec, 1/2" | Day | 17.5
016001680 | Drill, rotary, elec, 1-1/2" | Day | 33
016001700 | Dumpster, 10 Cy, incl removal | Day | 64.75
016001720 | Edger, lawn, gas | Day | 25.6
016001740 | Finisher, concrete floor, gas | Day | 124.6
016001760 | Floodlight, mercury, 1000 W | Day | 24.5
016001780 | Forklift, gas, 3000 Lb, 18' | Day | 210
016001800 | Forklift, diesel, 4000 Lb, 28' | Day | 190
016001820 | Generator, electric, 3 Kw | Day | 51
016001840 | Generator, electric, 5 Kw | Day | 54.6
016001860 | Generator, diesel, 20 Kw | Day | 96
016001880 | Generator, diesel, 50 Kw | Day | 136.15
016001900 | Grader, self-prop, 25000 Lb | Day | 413
016001920 | Grader, self-prop, 40000 Lb | Day | 569.1
016001940 | Grinder, concrete | Day | 62.58
016001960 | Hammer, rotary, 30 Lb, elec | Day | 67.9
016001980 | Hammer, rotary, 60 Lb, demo | Day | 105.42
016002000 | Hammer, sledge, 16 Lb | Day | 10.15
016002020 | Hammer, demo, self-prop, 1000 Lb | Day | 336
016002040 | Hoist, chain, 3 T | Day | 33.25
016002060 | Hoist, overhead, manual, 3/4 T | Day | 13.5
016002080 | Hose, air, 50', 3/4" D | Day | 12.6
016002100 | Hose, air, 50', 1-1/2" D | Day | 9.1
016002120 | Hose, water, 20', 2" D | Day | 7.7
016002140 | Hose, water, 20', 3" D | Day | 12
016002160 | Heater, space, 50 Mbh | Day | 11.2
016002180 | Jack, hydraulic, 20 T | Day | 4.25
016002200 | Ladder, extension, 40 Ft | Day | 24.15
016002220 | Stepladder | Day | 12.25
016002240 | Lift,equipment, 750 Lb, 5 Ft | Day | 40.25
016002260 | Lift,equipment, 500 Lb, 17 Ft | Day | 49.7
016002280 | Aerial lift, scissor, elec | Day | 61
016002300 | Mixer, concrete, 3.5 Cf, elec | Day | 48.3
016002320 | Mixer, concrete & mortar, 10 Cf | Day | 50.4
016002340 | Mixer, plaster | Day | 45.15
016002360 | Mower, riding type | Day | 98
016002380 | Power mulcher, small | Day | 129.5
016002400 | Post driver, manual | Day | 6.25
016002420 | Floor polisher, 14 in | Day | 16.38
016002440 | Pump , centr gas, 1-1/2", 4 Mgph | Day | 19.95
016002460 | Pump, centr gas, 2", 8 Mgph | Day | 21.7
016002480 | Pump, submers elec, 1-1/4" D | Day | 35.7
016002500 | Pump, concrete, 80' boom | Day | 775
016002520 | Roller, tandem, gas, 3 T | Day | 102.55
016002540 | Roller, towed, gas, 2 T | Day | 87.5
016002560 | Chainsaw, 16", elec | Day | 51.45
016002580 | Saw, miter, 10", elec | Day | 32.9
016002600 | Saw, circular, 7" | Day | 12.6
016002620 | Saw, radial arm, 10" | Day | 41.5
016002640 | Saw, table | Day | 25.9
016002660 | Saw, concrete, gas | Day | 63
016002680 | Sandblaster, portable, 3 Cf | Day | 63.7
016002700 | Scaffold, 10 Ft | Day | 19.25
016002720 | Scaffold, 20 Ft | Day | 26.25
016002740 | Scraper, towed, 7 Cy | Day | 59.15
016002760 | Scraper, self-prop, 16 Cy | Day | 1010
016002780 | Sprayer, paint, 8 Cfm | Day | 31.5
016002800 | Stapler, air, roofing | Day | 37.1
016002820 | Stud driver, power | Day | 24.5
016002860 | Tiller, gas | Day | 63
016002880 | Torch, cutting, 150' hose | Day | 16.45
016002900 | Tractor 30 T, 200 Hp | Day | 290
016002920 | Tractor 30 T, 250 Hp | Day | 297.85
016002940 | Transit tripod set | Day | 29.75
016002960 | Tractor, crawler, 75 Hp | Day | 297.5
016002980 | Tractor, crawler, 200 Hp | Day | 695
016003000 | Trencher, chain, gas, 12 Hp | Day | 69.65
016003020 | Truck, dump, tandem, 12 T load | Day | 364
016003040 | Truck, dump, tandem 16 T load | Day | 420.35
016003060 | Truck, pickup, 3/4 T | Day | 70
016003080 | Truck, pickup, 1 T | Day | 78.75
016003100 | Tractor, loader, 65 Hp | Day | 273.7
016003120 | Tractor, loader, 100 Hp | Day | 408.45
016003140 | Trowel, concrete, 44" D | Day | 55.65
016003160 | Vibrator, concrete, electric | Day | 29.4
016003180 | Wheelbarrow | Day | 7
016003200 | Welder, electric, 200 Amp | Day | 16.73
016003220 | Welder, gas, 200 Amp | Day | 39.2
016003240 | Wallpaper remover | Day | 26.25
017001100 | Final cleanup | SfFl | 0.6
018001115 | Dumpster, per load, large, incl haul | Ea | 295
018001115 | Dumpster, per load, small, incl haul | Ea | 97.5

## Sitework
Costcode | Description | Unit | Cost/unit
02 | SITEWORK
02050 | DEMOLITION
020501110 | Concrete foundation demo, 1Ft x 2Ft, no reinf. | Lf | 9.74
020501120 | Concrete foundation demo, 1Ft x 2Ft, with reinf. | Lf | 12.81
020501130 | Concrete foundation demo, no reinf. | Cy | 84.56
020501140 | Concrete foundation demo, with reinf. | Lf | 140
020501250 | Demo wood frame building, 1 floor | Sf | 1.95
020501260 | Demo wood frame building, 2 floors | Sf | 2.45
020501310 | Ceiling demolition | Sf | 0.51
020501320 | Flooring demolition, ceramic tile | Sf | 1.05
020501330 | Flooring demolition, linoleum | Sf | 0.33
020501410 | Plumbing demolition, fixture | Ea | 47.5
020501420 | Asbestos contaminated demolition | Sf | 3.59
020501510 | Demo masonry construction | SfFl | 5.07
020501520 | Demo reinforced masonry | SfFl | 5.89
020501530 | Demo concrete construction | SfFl | 6.66
020501540 | Demo reinforced concrete | SfFl | 7.38
020501550 | Debris removal | Cy | 28.7
020501610 | Partition removal, brick | Sf | 1.31
020501620 | Partition removal, wood with drywall | Sf | 1.39
020501630 | Door removal, wood | Ea | 23.32
020501640 | Window removal, trims | Ea | 59.25
020501650 | Wall removal, conc block | Sf | 1.56
020501660 | Roof demolition, built up roof | Sq | 112.75
020501670 | Roof demolition, wood shingles | Sq | 38.44
020501810 | Paving demo, no reinforcement | Sy | 10.28
020501820 | Paving demo, with wire mesh | Sy | 13.07
020502110 | Concrete slab demo, 4 in, no reinforcement | Sy | 19.73
020502120 | Concrete slab demo, 4 in, with reinforcement | Sy | 26.14
020502130 | Saw cutting, paving | Lf | 1.38
020502140 | Saw cutting, concrete | Lf | 2.17
020503110 | Remove chain link fence, 6 Ft high | Lf | 1.39
020503310 | Remove water pipe | Lf | 5.89
020503510 | Remove septic tank, 1200 gallons | Ea | 1280
02060 | HAZARDOUS MATERIALS
020602110 | Asbestos test, lab samples | Lot | 128.13
020602120 | Asbestos removal, acoustic ceiling | Sf | 3.43
020602130 | Asbestos removal, floor tile | Sf | 3.43
020602140 | Asbestos removal, drywall | Sf | 3.43
020602150 | Asbestos removal, siding | Sf | 2.15
020602160 | Asbestos removal, roofing, built-up roof | Sf | 4.2
020602170 | Asbestos removal, tank insulation | Ea | 485
020602180 | Asbestos removal, pipe insulation | Lf | 7
020602190 | Asbestos removal, stucco | Sf | 5.13
02100 | SIRE PREPARATION
021001120 | Clear and grub, light, with machine | Acre | 2300
021001130 | Clear and grub, medium, with machine | Acre | 3050
021001140 | Clear and grub, heavy, with machine | Acre | 4050
02200 | EARTHWORK
022001110 | Hand excavation, average soil, no haul | Cy | 41
022001120 | Hand backfill, average soil | Cy | 12.81
022001210 | Grading, rough | Acre | 200
022001220 | Grading, fine | Acre | 280
022001410 | Trench excavation, 12 in W, soft soil | Lf | 1.69
022001420 | Trench excavation, 12 in W, medium soil | Lf | 2.15
022002110 | Machine excavation, backhoe, average soil | Cy | 1.79
022002150 | Foundation excavation, backhoe | Cy | 11.53
022002160 | Foundation backfill and compaction | Cy | 14.09
022002170 | Trench excavation, 12 in wide, 24 in deep | Lf | 1.65
022002180 | Trench backfill and compaction | Cy | 14.97
02500 | PAVING AND SURFACING
025001110 | Grade and compact | Sy | 4.05
025002110 | Base course, stone, 4 in thick | Sy | 3.64
025002150 | Asphalt surface, 2 in thick | Sy | 9.17
025002160 | Asphalt paving repair | Sy | 35.36
025003110 | Paving, concrete, 6 in thick | Sy | 36.5
025003120 | Walkways, concrete, 4 in thick, basic | Sf | 2.31
025003130 | Walkways, concrete, 4 in thick, high quality | Sf | 3.84
02600 | PIPED UTILITY MATERIALS
026001150 | Cast iron pipe, 4 in dia | Lf | 12.56
026001160 | Cast iron pipe, 6 in dia | Lf | 16.45
026001210 | Ductile iron pipe, 4 in dia | Lf | 17.68
026001220 | Ductile iron pipe, 6 in dia | Lf | 25.11
026001310 | Corrugated metal, galvanized, 10 in dia | Lf | 14.86
026001350 | PVC pipe, 4 in dia | Lf | 3.35
026001360 | PVC pipe, 6 in dia | Lf | 4.45
026001520 | Clay pipe, 6 in | Lf | 17.94
026001650 | Drainage pipe, ABS, 6 in dia | Lf | 14.62
02800 | SITE IMPROVEMENTS
028001110 | Chaink link fence, 6 ft high | Lf | 13.69
028001120 | Gate, with posts, 3 ft wide, 6 ft high | Ea | 210.13
028002150 | Sprinkler irrigation system | Sf | 0.45
02900 | LANDSCAPING
029001210 | Area prep for seeding | Sy | 0.28
029001220 | Place top soil, by hand | Sy | 2.72
029002110 | Seeding | Sy | 0.36
029002120 | Fertilizing | Sy | 0.11
029002130 | Ground cover | Sf | 0.5
029002140 | Wood chip mulch, 4 in thick | Sy | 5.1
029002150 | Landscaping timbers, treated, 6 in x 6 in | Lf | 3.72
029003150 | Trees, typical, 5 Gal | Ea | 56.38
029003160 | Trees, typical, 15 Gal | Ea | 132

## Concrete
Costcode | Description | Unit | Cost/unit
03 | CONCRETE
03100 | CONCRETE FORMWORK
031001110 | Forms, grade beams and footings, 1 use | Sf | 4.65
031001120 | Forms, grade beams and footings, 2 uses | Sf | 3.71
031001150 | Forms, column footings, 1 use | Sf | 5.79
031001160 | Forms, column footings, 2 uses | Sf | 5.1
031001170 | Forms, slab on grade, 1 use | Sf | 4.05
031001180 | Forms, slab on grade, 2 uses | Sf | 3.43
031001210 | Curb forms, 1 use | Sf | 5.1
031001220 | Curb forms, 2 uses | Sf | 4.35
031001250 | Forms, columns, 1 use | Sf | 8.46
031001260 | Forms, columns, 2 uses | Sf | 7.12
031001310 | Forms, elevated slabs, 1 use | Sf | 5.89
031001320 | Forms, elevated slabs, 2 uses | Sf | 4.61
031001350 | Forms, beams, 1 use | Sf | 9.48
031001360 | Forms, beams, 2 uses | Sf | 7
031001420 | Forms, stairs, 1 use | Sf | 7.7
031001430 | Forms, stairs, 2 uses | Sf | 1.38
031001450 | Forms, walls, 1 use | Sf | 6.92
031001460 | Forms, walls, 2 uses | Sf | 5.65
03200 | CONCRETE REINFORCEMENT
032001110 | Reinf in place, grade beams, footings #2 | Lb | 1.28
032001120 | Reinf in place, grade beams, footings #3 | Lb | 0.97
032001130 | Reinf in place, grade beams, footings #4 | Lb | 0.76
032001140 | Reinf in place, grade beams, footings #6 | Lb | 0.67
032001150 | Reinf in place, grade beams, footings #8 | Lb | 0.65
032001160 | Reinf in place, grade beams, footings #10 | Lb | 0.64
032001210 | Reinf in place, columns, walls #2 | Lb | 1.45
032001220 | Reinf in place, columns, walls #3 | Lb | 1.05
032001230 | Reinf in place, columns, walls #4 | Lb | 0.88
032001240 | Reinf in place, columns, walls #6 | Lb | 0.76
032001250 | Reinf in place, columns, walls #8 | Lb | 0.73
032001260 | Reinf in place, columns, walls #10 | Lb | 0.75
03300 | CONCRETE
033001210 | Batch ready mix 2000 psi | Cy | 69.7
033001230 | Batch ready mix 2500 psi | Cy | 75.85
033001250 | Batch ready mix 3000 psi | Cy | 80.98
033003150 | Concrete placement, grade beams, slabs | Cy | 94.3
033003160 | Concrete placement, elevated slabs | Cy | 123
033003170 | Concrete, in place, slabs, footings | Cy | 438
033003180 | Concrete, in place, walls | Cy | 645
033003190 | Concrete, in place, columns | Cy | 910
03345 | CONCRETE FINISHES
033501150 | Float finish | Sf | 0.46
033501170 | Broom finish | Sf | 0.55
033501190 | Steel trowel | Sf | 0.78
03700 | CONCRETE RESTORATION AND CLEANING
037001310 | Epoxy patch repair | Cy | 17.25
037001350 | Epoxy crack repair, 6-12 Lf | Lf | 33
037001390 | Epoxy crack repair, 13 Lf and more | Lf | 25

## Masonry
Costcode | Description | Unit | Cost/unit
04 | MASONRY
04200 | UNIT MASONRY
042001110 | Standard 4 in brick veneer | Sf | 11.5
042001120 | Standard 8 in brick cavity | Sf | 23.75
042001310 | Brick fireplace, 24 in x 24 in | Lf | 91
042001420 | Quarry tile, floor | Sf | 7.43
042001430 | Paving stones | Sf | 4.87
042001450 | Paving tiles | Sf | 6.95
042001470 | Clay tiles | Sf | 7.12
042001510 | Concrete Masonry Units, load bearing | Sf | 4.05
042001520 | Concrete blocks, decorative style | Sf | 6.9
04400 | STONE
044001210 | Marble | Sf | 24.25
044001250 | Limestone | Sf | 23
044001310 | Granite | Sf | 30.24
044001350 | Slate | Sf | 23.5
04500 | MASONRY RESTORATION AND CLEANING
045001250 | Surface cleaning | Sf | 0.67
045001350 | Acid cleaning | Sf | 0.65

## Metals
Costcode | Description | Unit | Cost/unit
05 | METALS
05010 | METAL MATERIALS
050101120 | Structural welding, 1/8 " | Lf | 2.35
050101220 | Structural welding, 1/4 " | Lf | 4.65
050101350 | Anchor bolts, 1/2", 8" long | Ea | 3.84
050101360 | Anchor bolts, 1/2", 12" long | Ea | 5
05100 | STRUCTURAL METAL FRAMING
051001250 | Beams and joists | Ton | 1770
051001260 | Columns | Ton | 1995
051001280 | Trusses | Ton | 2175
051001350 | Steel building structure, 1 level | Sf | 10
051001370 | Steel building structure, 2 levels | Sf | 12.5
05300 | METAL DECKING
053001310 | Floor deck, 20 gauge steel | Sf | 2.41
053001410 | Roof deck, 18 gauge steel | Sf | 2.82
05400 | COLD-FORMED METAL FRAMING
054001240 | Metal furring, walls, 16" oc | Sf | 2.35
054001320 | Metal studs, load bearing, 16" oc, 16 gauge | Sf | 3.18
054001330 | Metal studs, load bearing, 24" oc, 16 gauge | Sf | 2.72
05500 | METAL FABRICATIONS
055001120 | Iron railings, 3-6" high, standard quality | Lf | 25.3
055001140 | Handrails, 1-1/2 in rail | Lf | 1.28
055001210 | Ladders, 1-6" wide | Lf | 46
055001230 | Spiral stairways | Lf | 252
055001270 | Cast column bases, 24" x 24" | Ea | 252
055001350 | Steel cutting, 1/2" thick | Lf | 2.55
055001370 | Steel drill holes, 1/2" thick | Ea | 10.25

## WoodPlastics
Costcode | Description | Unit | Cost/unit
06 | WOOD AND PLASTICS
06100 | ROUGH CARPENTRY
061001010 | Lumber, construction grade, 2"x4" | MBf | 645
061001020 | Lumber, construction grade, 2"x6" | MBf | 615
061001030 | Lumber, construction grade, 2"x10" | MBf | 655
061001120 | Stud wall, 2"x4", 8 Ft high | Sf | 1.6
061001130 | Stud wall, 2"x4", 10 Ft high | Sf | 1.55
061001140 | Stud wall, 2"x6", 8 Ft high | Sf | 2.35
061001150 | Stud wall, 2"x4", 8 Ft high | Sf | 2.17
061001180 | Furring, utility, 16" oc, 1"x2" | Sf | 0.95
061001190 | Furring, utility, 24" oc, 1"x2" | Sf | 0.8
061001310 | Wood posts, structural, 4"x4" | Lf | 6.92
061001320 | Wood posts, structural, 6"x6" | Lf | 11.35
061001350 | Joists, 2"x6" | Lf | 1.79
061001360 | Joists, 2"x10" | Lf | 3.2
061001370 | Beams, 4"x8" | Lf | 6.92
061001410 | Beams, 4"x10" | Lf | 7.84
061001420 | Beams, 4"x12" | Lf | 8.46
061001430 | Beams, 6"x8" | Lf | 10.5
061001440 | Beams, 6"x10" | Lf | 11.4
061001450 | Beams, 6"x12" | Lf | 11.94
061002150 | Ceiling joists, 16" oc, 2"x4" | Sf | 1.28
061002160 | Ceiling joists, 24" oc, 2"x4" | Sf | 1.08
061002170 | Ceiling joists, 16" oc, 2"x6" | Sf | 1.59
061002180 | Ceiling joists, 24" oc, 2"x6" | Sf | 1.25
061002210 | Floor joists, 16" oc, 2"x6" | Sf | 1.46
061002220 | Floor joists, 16" oc, 2"x8" | Sf | 1.72
061002230 | Roof framing, 16" oc, 2"x6" | Sf | 1.75
061002240 | Roof framing, 24" oc, 2"x6" | Sf | 1.4
061002350 | Ridge board, 2"x6" | Lf | 2.61
061002410 | Floor sheathing, 1/2" plywood, CDX | Sf | 1.05
061002420 | Floor sheathing, 3/4" plywood, CDX | Sf | 1.38
061002550 | Wall sheathing, 1/2" plywood, interior | Sf | 1.39
061002560 | Wall sheathing, 3/4" plywood, interior | Sf | 1.69
061002570 | Wall sheathing, 1/2" plywood, exterior | Sf | 1.35
061002580 | Wall sheathing, 3/4" plywood, exterior | Sf | 1.65
061002610 | Roof sheathing, 1/2" plywood | Sf | 0.94
061002620 | Roof sheathing, 3/4" plywood | Sf | 1.28
061002710 | Wood decking, T&G, 3" thick | Sf | 7.45
061002720 | Wood decking, T&G, 4" thick | Sf | 8.46
06130 | HEAVY TIMBER CONSTRUCTION
061301110 | Beams, 6"x8" | Lf | 9.48
061301120 | Beams, 6"x10" | Lf | 10.3
061301130 | Beams, 8"x10" | Lf | 12.51
061301210 | Columns, 8"x8" | Lf | 13.53
061301220 | Columns, 10"x10" | Lf | 17.53
061302110 | Fink truss, conventional, 24 ft span | Ea | 121
061302120 | Fink truss, conventional, 30 ft span | Ea | 150
061302130 | Scissor truss, 24 ft span | Ea | 139
061302140 | Scissor truss, 30 ft span | Ea | 175
061303150 | Glu-lam beams, 3"x12" | Lf | 8.97
061303160 | Glu-lam beams, 5"x12" | Lf | 15.12
06200 | FINISH CARPENTRY
062001120 | Moulding, 1/2" x 4" | Lf | 3.33
062001150 | Crown, 1/2" x 1-3/4" | Lf | 4.05
06400 | ARCHITECTURAL WOODWORK
064001210 | Hardboard, 1/4" thick | Sf | 1.38
064001250 | Plywood, unfinished, 1/4" thick | Sf | 2.5
064001260 | Plywood, finished, 1/4" thick | Sf | 3.84
064001310 | Stairs, per riser | Rise | 35.9

## ThermalMoisture
Costcode | Description | Unit | Cost/unit
07 | THERMAL AND MOISTURE
07150 | DAMPPROOFING
071501120 | Hot mop dampproofing | Sf | 1.4
071501130 | Asphalt emulsion, brushed | Sf | 0.56
071501140 | Silicone dampproofing | Sf | 0.8
071501150 | Neoprene membrane waterproofing | Sf | 3.25
07200 | INSULATION
072002110 | Insulation system, glass fiber board | Sf | 0.64
072002120 | Finish coated board | Sf | 1.5
072002130 | Roof insulation, fiberglass board, 1" thick | Sf | 0.87
072002140 | Roof insulation, urethane board, 1" thick | Sf | 0.81
072002150 | Roof insulation, perlite board, 1" thick | Sf | 0.7
072002160 | Roof insulation, polystyrene board, 1" thick | Sf | 0.62
072002170 | Batt insulation, 3-1/2", kraft face, R-11 | Sf | 0.45
072002180 | Batt insulation, 6", kraft face, R-19 | Sf | 0.6
072002190 | Blown fiberglass insulation, 9" thick, R-19 | Sf | 0.87
072002210 | Polystyrene sprayed, 2" thick, R-11 | Sf | 1.79
072003210 | Fireproofing, sprayed on, 1" thick | Sf | 1.49
07300 | SHINGLES AND ROOFING TILES
073001210 | Asphalt shingles, 240 lbs/Sq | Sq | 95
073001220 | Aluminum shingles | Sq | 240
073001230 | Wood shingles, cedar, standard | Sq | 250
073001240 | Slate shingles | Sq | 590
073001250 | Shakes, cedar | Sq | 335
07400 | PREFORMED ROOFING AND SIDING
074001210 | Corrugated galvanized roofing, 22 gauge | Sf | 3.35
074001220 | Corrugated galvanized siding, 22 gauge | Sf | 3.84
074001310 | Corrugated aluminum roofing | Sf | 3.18
074001320 | Corrugated aluminum siding | Sf | 3.54
074001350 | Vinyl siding | Sf | 2.1
074001410 | Wood siding, beveled, cedar | Sf | 4.25
074001450 | Wood siding, tongue and groove | Sf | 5.48
074001490 | Plywood siding, 5/8", cedar | Sf | 2.82
07500 | MEMBRANE ROOFING
075001250 | Asphalt built-up roofing, 3 ply | Sq | 79
075001280 | Asphalt built-up roofing, 3 ply, gravel | Sq | 150
075001310 | Fiberglass felt built-up roofing, 3 ply | Sq | 185
075001410 | Elastomeric roofing | Sq | 270
075001510 | Neoprene sheet roofing | Sq | 56
07600 | FLASHING AND SHEET METAL
076001250 | Fascia, sheet metal, prefinished | Sf | 6.65
076001310 | Flashing, aluminum | Lf | 6.41
076001330 | Flashing, copper | Lf | 9.99
076001350 | Flashing, stainless steel | Lf | 7.95
07700 | ROOF SPECIALTIES AND ACCESSORIES
077001110 | Gutter, aluminum, 5" | Lf | 3.85
077001120 | Gutter, copper, 5" | Lf | 7.94
077001130 | Gutter, galv steel, 5" | Lf | 3.33
077001210 | Downspout, aluminum, 3"x4" | Lf | 4.36
077001220 | Downspout, copper, 3"x4" | Lf | 7.5
077001230 | Downspout, galv steel, 3"x4" | Lf | 3.64
077001310 | Flashing, aluminum | Sf | 4.36
077001320 | Flashing, copper | Sf | 6.95
077001330 | Flashing, galv steel | Sf | 3.64
077001510 | Roof hatches, 36"x36" | Ea | 590
077001540 | Ventilator, mushroom type, 240 CFM | Ea | 545
077001650 | Skylight, 4'x4' | Ea | 410
07900 | JOINT SEALERS
079001110 | Oil base caulking installed | Lf | 0.99
079001150 | Rubber sealant installed | Lf | 1.54
079001250 | Polyurethane, 2 part, installed | Lf | 1.8

## DoorsWindows
Costcode | Description | Unit | Cost/unit
08 | DOORS AND WINDOWS
08100 | METAL DOORS AND FRAMES
081001120 | Metal door, 3'x7', exterior, complete | Ea | 1010
081001130 | Metal door, 2'-8"x6'-8" | Ea | 225
081001140 | Metal door, 2'-8"x7'-0" | Ea | 305
081001210 | Metal door frame, 6'-8" high | Ea | 160
081001220 | Metal door frame, 7'-0" high | Ea | 180
08200 | WOOD AND PLASTIC DOORS
082002110 | Wood door, interior, 2'-6"x6'-8", 1-3/8" thick | Ea | 75.5
082002120 | Wood door, interior, 3'-0"x6'-8", 1-3/8" thick | Ea | 82
082002130 | Wood door, interior, 2'-6"x6'-8", 1-3/4" thick | Ea | 105
082002140 | Wood door, interior, 3'-0"x6'-8", 1-3/4" thick | Ea | 115
082002150 | Wood door, exterior, solid, 3'-0"x6'-8", 1-3/4" thk | Ea | 275
082002160 | Wood door frame, exterior, 2'-6"x6'-8" | Ea | 135
082002170 | Wood door frame, exterior, 3'-0"x6'-8" | Ea | 155
08300 | SPECIAL DOORS
083001120 | Accordeon folding doors, vinyl face | Sf | 35
083001250 | Sliding glass door, 6' wide, standard | Ea | 810
083001260 | Sliding glass door, 6' wide, premium | Ea | 945
08500 | METAL WINDOWS
085001210 | Aluminum window, fixed | Sf | 17.5
085001220 | Aluminum window, double hung | Sf | 35
085001310 | Steel window, fixed | Sf | 34.5
085001320 | Steel window, double hung | Sf | 45
08600 | WOOD AND PLASTIC WINDOWS
086001250 | Wood window, casement, 48"x50" | Ea | 590
086001260 | Wood window, double hung, 30"x48" | Ea | 300
086001310 | Wood window, sliding, 50"x40" | Ea | 350
086001320 | Wood window, awning, 40"x22" | Ea | 325
08700 | HARDWARE
087001210 | Door closer, interior | Ea | 110
087001220 | Door closer, exterior | Ea | 135
087001310 | Deadbolt, light duty, single cylinder | Ea | 59
087001320 | Deadbolt, light duty, double cylinder | Ea | 70
087001330 | Deadbolt, heavy duty, single cylinder | Ea | 85
087001340 | Deadbolt, heavy duty, double cylinder | Ea | 95
087001420 | Door stop, floor mount | Ea | 22.25
087001450 | Kick plate, stainless | Ea | 45.5
087002150 | Hinge, 4x4 butt type | Ea | 22
087002160 | Lockset, cylindrical | Ea | 150
087002170 | Panic door hardware, aluminum | Ea | 465
087002310 | Threshold, bronze | Lf | 40
087002350 | Weatherstripping, astragal | Lf | 17.25
08800 | GLAZING
088003110 | Sheet glass, 1/8", clear | Sf | 5.25
088003120 | Sheet glass, 1/4", clear | Sf | 4.45
088003130 | Sheet glass, 3/8", clear | Sf | 10.1
088003210 | Insulating glass, 1/8" | Sf | 11.22
088003310 | Plexiglass, 1/8" | Sf | 5.9
088003520 | Wired glass, 3/8" | Sf | 10.3
088003650 | Sheet mirror glass, 1/4" | Sf | 12

## Finishes
Costcode | Description | Unit | Cost/unit
09 | FINISHES
09100 | METAL SUPPORT SYSTEMS
091001250 | Metal studs, galv, non load bearing, 4", 16" oc | Sf | 1.15
091001260 | Metal studs, galv, load bearing, 4", 16" oc | Sf | 2
09200 | LATH AND PLASTER
092001210 | Metal laths, galvanized, walls and ceilings | Sy | 7.1
092001220 | Gypsum plaster, trowel finish | Sy | 16.7
092001310 | Patch gypsum plaster | Sf | 12.8
092001350 | Exterior stucco, 1" thick | Sy | 25
092001380 | Texture coat plaster | Sy | 3.75
09250 | GYPSUM BOARD
092501210 | Drywall, 1/2", ceiling, including taping & finish | Sf | 0.73
092501230 | Drywall, 1/2", walls, including taping & finish | Sf | 0.83
092501410 | Drywall, 5/8", ceiling, including taping & finish | Sf | 0.92
092501430 | Drywall, 5/8", walls, including taping & finish | Sf | 1.2
09300 | TILE
093002110 | Wall tile, glazed, 4"x4", average quality | Sf | 8.46
093002120 | Wall tile, glazed, 4"x4", good quality | Sf | 10
093002150 | Floor tile, glazed, average quality | Sf | 9.79
093002160 | Floor tile, glazed, good quality | Sf | 10.75
093002210 | Mosaic tile | Sf | 7.94
093002250 | Quarry tile, 6"x6" | Sf | 6.66
093002310 | Terrazzo, 2" thick, on concrete | Sf | 6.65
09500 | ACOUSTICAL TREATMENT
095001210 | Tile board | Sf | 1.28
095001250 | Suspended ceiling grid, 2'x2', 1/2" tile | Sf | 1.5
09550 | WOOD FLOORING |  | 0
095501220 | Oak plank, 3/4" thick | Sf | 8.35
095501230 | Parquet wood, oak, 1/4" | Sf | 6.92
095501240 | Concrete floor sealing, basic system | Sf | 3
095501320 | Concrete floor sealing, advanced system | Sf | 5.9
095501340 | Sand and refinish wood flooring | Sf | 2.1
09650 | RESILIENT FLOORING
096501210 | Asphalt tile | Sf | 1.79
096501220 | Sheet vinyl flooring, average | Sy | 29.25
096501230 | Sheet vinyl flooring, premium | Sy | 55
096502120 | Vinyl tile, 12"x12" | Sf | 2.56
09680 | CARPET
096801250 | Carpet, nylon, 24 oz | Sy | 25.5
096801260 | Carpet tile | Sf | 2.61
096801280 | Carpet padding | Sy | 5.65
09900 | PAINTING
099001210 | Sanding walls | Sf | 0.31
099001230 | Sanding trims | Sf | 0.62
099002110 | Painting walls, ceilings, roller, 2 coats | SfFl | 1.25
099002120 | Painting, masonry, 2 coats, roller | Sf | 0.56
099002130 | Painting, plaster, 2 coats, roller | Sf | 0.53
099002150 | Painting, stucco, 2 coats, roller | Sf | 0.47
099002160 | Painting, plywood, 2 coats, roller | Sf | 0.48
09950 | WALL COVERINGS
099501250 | Vinyl wallcovering, standard grade | Sf | 1
099501260 | Vinyl wallcovering, medium grade | Sf | 1.29
099501270 | Vinyl wallcovering, premium grade | Sf | 1.6
099503120 | Cloth wallcovering | Sf | 2.82
099503130 | Cork wallcovering | Sf | 2.45

## Specialties
Costcode | Description | Unit | Cost/unit
10 | SPECIALTIES
10150 | COMPARTMENTS AND CUBICLES
101501210 | Toilet partitions, plastic, floor mounted | Ea | 705
101501220 | Shower compartment, steel | Ea | 1075
101501250 | Shower stalls, fiberglass | Ea | 510
101502120 | Baby change station | Ea | 350
10400 | IDENTIFYING DEVICES
104002110 | Plastic signs, engraved, 4"x12" | Ea | 33.25
104002210 | Metal engraved plaque | Ea | 395
104002250 | Plastic door signs, interior, 4"x10" | Ea | 21.25
104002350 | Tack board, 2'x3' | Ea | 44
10520 | FIRE PROTECTION SPECIALTIES
105201220 | Fire extinguisher, 3 Gal. | Ea | 118
105201250 | Fire extinguisher cabinet, medium | Ea | 220
10550 | POSTAL SPECIALTIES
105501210 | Mailbox, metal | Ea | 69
105501220 | Letter slot | Ea | 37.5
105501250 | Vertical mailbox, 3 unit | Ea | 115
105501260 | Wall safe, medium | Ea | 495
10600 | PARTITIONS
106001210 | Accordeon partition, 12' high, vinyl | Sf | 14
106001220 | Office partitions, half height | Lf | 64
106001230 | Office partitions, full height | Lf | 85
106001240 | Demountable partitions | Sf | 18.95
10800 | TOILET AND BATH ACCESSORIES
108001210 | Wall urns, recessed | Ea | 129
108001220 | Waste receptacle, recessed | Ea | 165
108001230 | Hand dryer, surface mounted | Ea | 435
108001240 | Sanitary napkin dispenser, surface mounted | Ea | 330
108001250 | Toilet tissue dispenser, SS, flush mounted | Ea | 46
108001260 | Towel dispenser, SS, flush mounted | Ea | 120
108001270 | Towel bar, SS, 24" | Ea | 65
108001280 | Shower rod, SS, 1" dia | Ea | 71
108001290 | Grab bar, SS, 36" | Ea | 85
108001310 | Medicine cabinet with mirror, 18"x20", recessed | Ea | 250
108001410 | Mirror, no frame, 18"x30" | Ea | 65
108001420 | Mirror, SS frame, 18"x30" | Ea | 74
108001520 | Clothes hook, double, SS | Ea | 17.75

## Equipment
Costcode | Description | Unit | Cost/unit
11 | EQUIPMENT
11020 | SECURITY AND VAULT EQUIPMENT
110201210 | Fireroom door, fireproof, 36" wide | Ea | 3350
110201230 | Video surveillance system, basic | Ea | 6750
110201250 | Video surveillance system, advanced | Ea | 3325
110202150 | Office safe, medium, fire rated | Ea | 1495
11050 | LIBRARY AND CLASS EQUIPMENT
110502150 | Class seating, per seat | Ea | 230
110502250 | Wardrobes for students | Ea | 590
110502290 | Projection screen, ceilin mounted | Sf | 5.55
11110 | LAUNDRY AND CLEANING EQUIPMENT
111102110 | Coin washer, 16 lbs | Ea | 1350
111102130 | Coin dryer | Ea | 690
111102150 | Presser, manual operation | Ea | 3710
11400 | FOOD SERVICE EQUIPMENT
114001120 | Gas range | Ea | 2800
114001140 | Refrigerator, 12 Cf | Ea | 1490
114001160 | Dishwasher, rack type, under counter | Ea | 3250
114001190 | Garbage disposer, 1 Hp | Ea | 1250
114001210 | Mixer, 20 quart | Ea | 3330
114001250 | Refrigerated display case | Ea | 745
114001270 | Exhaust hood, 6', SS | Ea | 1075
114001350 | Ice maker, 300 lbs per day | Ea | 1580
114001410 | Sink, SS, 48" long | Ea | 890
11450 | RESIDENTIAL EQUIPMENT
114501210 | Garbage disposal | Ea | 495
114501250 | Range hood, SS, 48" wide | Ea | 640
114501270 | Gas range, built-in | Ea | 1035
114501290 | Gas range, free standing | Ea | 1280
114501310 | Electric range, built-in | Ea | 845
114501390 | Electric range, free standing | Ea | 1055
114501450 | Electric heater | Ea | 235
114501510 | Ceiling fan, basic | Ea | 174
114501550 | Ceiling fan, premium | Ea | 495
114501610 | Dishwasher | Ea | 795
331 | Cabinets
3311101 | Base cabinet, 24"D, remove | Lf
3311105 | Base cabinet, 24"D | Lf
3311107 | Base cabinet, 24"D, refinish | Lf
3311201 | Wall cabinet, 12"D, remove | Lf
3311205 | Wall cabinet, 12"D | Lf
3311207 | Wall cabinet, 12"D, refinish | Lf
3311301 | Range base cabinet, remove | Lf
3311305 | Range base cabinet | Lf
3311307 | Range base cabinet, refinish | Lf
3311401 | Oven cabinet, remove | Lf
3311405 | Oven cabinet | Lf
3311407 | Oven cabinet, refinish | Lf
3311501 | Island base cabinet, remove | Lf
3311505 | Island base cabinet | Lf
3311507 | Island base cabinet, refinish | Lf
3311601 | Medicine cabinet, 16x22, remove | Ea
3311605 | Medicine cabinet, 16x22 | Ea
3312101 | Metal cabinet, base, remove | Lf
3312105 | Metal cabinet, base | Lf
3312106 | Metal cabinet, base, paint | Lf
3312201 | Metal cabinet, wall, remove | Lf
3312205 | Metal cabinet, wall | Lf
3312206 | Metal cabinet, wall, paint | Lf
3312605 | Cabinet hardware | Ea
3313103 | Cabinet door, glass panel, 12x30, clean | Ea
3313105 | Cabinet door, glass panel, 12x30 | Ea
3313205 | Cabinet door, wood, 12x30 | Ea
3313206 | Cabinet door, wood, 12x30, paint | Ea
3313207 | Cabinet door, wood, 12x30, refinish | Ea
3314101 | Countertop, plastic lam, 24"W, remove | Lf
3314105 | Countertop, plastic lam, 24"W | Lf
3314151 | Countertop, cult. marble , 24"W, remove | Lf
3314155 | Countertop, cult. marble, 24"W | Lf
3315101 | Vanity base, remove | Lf
3315105 | Vanity base | Lf
3315106 | Vanity base, paint | Lf
3315107 | Vanity base, refinish | Lf
3316101 | Shelving, pine, 10", remove | Lf
3316105 | Shelving, pine, 10" | Lf
3316106 | Shelving, pine, 10", paint | Lf
3316205 | Shelving, prefin w/supp, 10" | Lf
3319107 | Scrape & sand cabinets | Lf
85 | Appliance
8510101 | Refrigerator, 10 Cf, remove | Ea
8510105 | Refrigerator, 10 Cf | Ea
8510201 | Refrigerator, 14 Cf, remove | Ea
8510205 | Refrigerator, 14 Cf | Ea
8510301 | Refrigerator, 18 Cf, remove | Ea
8510305 | Refrigerator, 18 Cf | Ea
8510401 | Refrigerator, 24 Cf, remove | Ea
8510405 | Refrigerator, 24 Cf | Ea
8520101 | Range, gas, remove | Ea
8520105 | Range, gas | Ea
8520111 | Range, electric, remove | Ea
8520115 | Range, electric | Ea
8520131 | Drop in range, electric, remove | Ea
8520135 | Drop in range, electric | Ea
8520141 | Drop in range, gas, remove | Ea
8520145 | Drop in range, gas | Ea
8530101 | Range hood, vented, 30"W, remove | Ea
8530105 | Range hood, vented, 30"W | Ea
8540101 | Microwave oven, avg, remove | Ea
8540105 | Microwave oven, avg | Ea
8550101 | Washing machine, remove | Ea
8550105 | Washing machine | Ea
8551101 | Dryer, gas, remove | Ea
8551105 | Dryer, gas | Ea
8551201 | Dryer, electric, remove | Ea
8551205 | Dryer, electric | Ea
8560101 | Dishwasher, built-in, remove | Ea
8560105 | Dishwasher, built-in | Ea
8560201 | Dishwasher, portable, remove | Ea
8560205 | Dishwasher, portable | Ea
8570101 | Disposal, 1/2 Hp, remove | Ea
8570105 | Disposal, 1/2 Hp | Ea
8570201 | Disposal, 3/4 Hp, remove | Ea
8570205 | Disposal, 3/4 Hp | Ea
8580101 | Trash compactor, remove | Ea
8580105 | Trash compactor | Ea

## Furnishings
Costcode | Description | Unit | Cost/unit
12 | FURNISHINGS
12300 | MANUFACTURED CASEWORK
123001210 | Metal cabinet, base | Lf | 115
123001220 | Metal cabinet, wall | Lf | 110
123001230 | Wardrobe, full height, 36" wide | Ea | 590
123001240 | Classroom cabinets, full height | Lf | 255
123002110 | Kitchen base cabinet, 24" deep, 12" wide | Ea | 165
123002120 | Kitchen base cabinet, 24" deep, 24" wide | Ea | 235
123002130 | Kitchen base cabinet, 24" deep, 36" wide | Ea | 295
123002140 | Kitchen base cabinet, 24" deep, 48" wide | Ea | 335
123002220 | Kitchen wall cabinet, 12" high, 30" wide | Ea | 154
123002230 | Kitchen wall cabinet, 24" high, 30" wide | Ea | 185
123002240 | Kitchen wall cabinet, 30" high, 30" wide | Ea | 235
123004110 | Custom wood cabinets, base | Lf | 85
123004120 | Custom wood cabinets, wall | Lf | 80
123004130 | Custom wood cabinets, full height | Lf | 150
12500 | WINDOW TREATMENT
125001310 | Shades, roll-up, basic | Sf | 4.35
125001330 | Shades, roll-up, premium | Sf | 6.4
125001350 | Mini blinds, aluminum | Sf | 3.85

## SpecialCons
Costcode | Description | Unit | Cost/unit
13 | SPECIAL CONSTRUCTION
13120 | PRE-ENGINEERED STRUCTURES
131202110 | Metal building, 16'x20', 14' high | Ea | 6400
131202120 | Metal building, 20'x40', 14' high | Ea | 10450
131202130 | Rollup door, manual operation, 10'x10' | Ea | 1310
13150 | POOLS
131501220 | Swimming pool, private homes | Sf | 4305
131501230 | Swimming pool, schools | Sf | 52.25
131501240 | Swimming pool, public | Sf | 49
131501250 | Diving board, 12' long, fiberglass | Ea | 795
131501260 | Water slide, fiberglass | Ea | 845

## Conveying
Costcode | Description | Unit | Cost/unit
14 | CONVEYING SYSTEMS
14200 | ELEVATORS
142001210 | Passenger, hydraulic, 100 fpm, 6 stop | Ea | 69250
142001220 | Passenger, hydraulic, 150 fpm, 6 stop | Ea | 77300
142001230 | Passenger, geared, 100 fpm, 6 stop | Ea | 76750
142001240 | Passenger, geared, 150 fpm, 6 stop | Ea | 84000
142002150 | Freight elevator, 3000 lbs, 100 fpm, 2 stop | Ea | 44000
14300 | MOVING STAIRS AND WALKS
143001250 | Escalator, 15' rise, 36" wide | Ea | 115000
1270 | Pneumatic tube, 3" dia, 75' pipe | Ea | 3850
14400 | LIFTS
144001230 | Small lift, 3-5 stops | Ea | 16900
144001260 | Vehicle lift, hydraulic | Ea | 5350
14500 | MATERIAL HANDLING SYSTEMS
145001410 | Chute, standard quality, steel, 30" dia | Ea | 1100
145001420 | Storage unit, aluminum | Ea | 565
14600 | HOISTS AND CRANES
146001210 | Electric hoist, 1000 lbs | Ea | 5350
146001220 | Traveling bridge crane, 20', 5 ton | Ea | 22250
146001230 | Jib crane, wall mounted, 1 ton | Ea | 1690

## Mechanical
Costcode | Description | Unit | Cost/unit
15 | MECHANICAL
15100 | BASIC MATERIALS AND METHODS
151001110 | Pipe hanger, clevis, 1" | Ea | 8.45
151001120 | Pipe hanger, clevis, 2" | Ea | 9.5
151001130 | Pipe hanger, clevis, 3" | Ea | 11.8
151001210 | C-clamp, 1/2" | Ea | 4.36
151001220 | C-clamp, 3/4" | Ea | 8.05
151001310 | U-bolt, 4" | Ea | 6.15
151001320 | U-bolt, 6" | Ea | 11.5
151001410 | Angle hanger, 1/2" | Ea | 4.87
151001420 | Angle hanger, 3/4" | Ea | 8.2
151001430 | Angle support, steel, 18"x24" | Ea | 113
151001510 | Pipe clamp, 3" | Ea | 12.75
151001520 | Pipe clamp, 6" | Ea | 21.01
151001610 | J-hook, 1" | Ea | 2.3
151001620 | J-hook, 3" | Ea | 2.82
15250 | MECHANICAL INSULATION
152502110 | Pipe insulation, fiberglass, 3" dia, 1" thick | Lf | 4.87
152502120 | Pipe insulation, fiberglass, 6" dia, 1-1/2" thick | Lf | 9.25
152502130 | Pipe insulation, fiberglass, 12" dia, 2" thick | Lf | 22.25
152502140 | Pipe insul, fiberglass, exterior, 3" dia, 1" thick | Lf | 6.92
152502150 | Pipe insul, fiberglass,exterior, 6" dia, 1-1/2" thick | Lf | 13.84
152502160 | Pipe insul, fiberglass, exterior, 12" dia, 2" thick | Lf | 30.24
152502250 | Duct insulation, fiberglass, 2" thick | Sf | 1.69
15300 | FIRE PROTECTION
153001210 | Sprinkler system, installed | Sf | 2.08
153001220 | Sprinkler head | Ea | 24.09
153001250 | Alarm valve, 4" | Ea | 560
153001260 | Gate valve, 4" | Ea | 485
153001270 | Check valve, 4" | Ea | 265
153001280 | Dry valve, 4" | Ea | 890
153001310 | Wall hydrant, single | Ea | 350
153001350 | Fire extinguisher, 20 lbs, CO2 | Ea | 475
153001390 | Extinguisher cabinet, 12"x24"x8" | Ea | 170
153002150 | Smoke detector, wired | Ea | 135
153002170 | Smoke detector, battery | Ea | 28
153002110 | Fire alarm control panel | Ea | 1480
153003150 | Fire alarm bell | Ea | 81
153004110 | Heat detector | Ea | 64.5
15400 | PLUMBING
154001210 | Black steel, 1/2", Sch 40 | Lf | 3.33
154001220 | Black steel, 1/2", Sch 80 | Lf | 4.25
154001230 | Black steel, 1/2", 90 degree elbow, Sch 40 | Ea | 5.59
154001240 | Black steel, 1/2", 45 degree elbow, Sch 40 | Ea | 5.89
154001310 | Black steel, 1", Sch 40 | Lf | 4.95
154001320 | Black steel, 1", Sch 80 | Lf | 6.05
154001330 | Black steel, 1", 90 degree elbow, Sch 40 | Ea | 8.46
154001340 | Black steel, 1", 45 degree elbow, Sch 40 | Ea | 8.97
154001410 | Black steel, 2", Sch 40 | Lf | 6.41
154001420 | Black steel, 2", Sch 80 | Lf | 8.25
154001430 | Black steel, 2", 90 degree elbow, Sch 40 | Ea | 18.95
154001440 | Black steel, 2", 45 degree elbow, Sch 40 | Ea | 26.39
154002110 | Galvanized steel, 1/2", Sch 40 | Lf | 4.87
154002120 | Galvanized steel, 1/2", Sch 80 | Lf | 6.65
154002130 | Galvanized steel, 1/2", 90 degree elbow, Sch 40 | Ea | 8.05
154002140 | Galvanized steel, 1/2", 45 degree elbow, Sch 40 | Ea | 8.25
154002210 | Galvanized steel, 1", Sch 40 | Lf | 5.89
154002220 | Galvanized steel, 1", Sch 80 | Lf | 7.23
154002230 | Galvanized steel, 1", 90 degree elbow, Sch 40 | Ea | 11.79
154002240 | Galvanized steel, 1", 45 degree elbow, Sch 40 | Ea | 13.1
154002310 | Galvanized steel, 2", Sch 40 | Lf | 8.25
154002320 | Galvanized steel, 2", Sch 80 | Lf | 10.76
154002330 | Galvanized steel, 2", 90 degree elbow, Sch 40 | Ea | 27.15
154002340 | Galvanized steel, 2", 45 degree elbow, Sch 40 | Ea | 33.5
154003110 | Copper pipe, 1/2", Type K | Lf | 2.03
154003120 | Copper pipe, 1", Type K | Lf | 2.72
154003130 | Copper pipe, 2", Type K | Lf | 5.59
154003140 | Copper pipe, 1/2", Type L | Lf | 2.07
154003150 | Copper pipe, 1", Type L | Lf | 2.75
154003160 | Copper pipe, 2", Type L | Lf | 5.89
154003170 | Copper pipe, 1/2", Type M | Lf | 1.9
154003180 | Copper pipe, 1", Type M | Lf | 2.51
154003190 | Copper pipe, 2", Type M | Lf | 5.6
154003210 | Copper, 1/2" 90 degree elbow | Ea | 4.87
154003220 | Copper, 1/2" 45 degree elbow | Ea | 5.18
154003230 | Copper, 1/2" coupling | Ea | 4.72
154003240 | Copper, 1" 90 degree elbow | Ea | 9.8
154003250 | Copper, 1" 45 degree elbow | Ea | 11.53
154003260 | Copper, 1" coupling | Ea | 9.33
154003270 | Copper, 2" 90 degree elbow | Ea | 22
154003280 | Copper, 2" 45 degree elbow | Ea | 23.75
154003290 | Copper, 2" coupling | Ea | 19.5
154004110 | PVC/CPVC, 1/2", Sch 40 | Lf | 1.04
154004120 | PVC/CPVC, 1", Sch 40 | Lf | 1.49
154004130 | PVC/CPVC, 2", Sch 40 | Lf | 2.72
154004140 | PVC/CPVC, 1/2" 90 degree elbow, Sch 40 | Ea | 4.87
154004150 | PVC/CPVC, 1" 90 degree elbow, Sch 40 | Ea | 5.59
154004160 | PVC/CPVC, 2" 90 degree elbow, Sch 40 | Ea | 9.17
154004170 | PVC/CPVC, 1/2", Sch 80 | Lf | 1.18
154004180 | PVC/CPVC, 1", Sch 80 | Lf | 1.9
154004190 | PVC/CPVC, 2", Sch 80 | Lf | 3
154004210 | PVC/CPVC, 1/2" 90 degree elbow, Sch 80 | Ea | 5.38
154004220 | PVC/CPVC, 1" 90 degree elbow, Sch 80 | Ea | 6.5
154004230 | PVC/CPVC, 2" 90 degree elbow, Sch 80 | Ea | 11.53
154004510 | Stainless steel, 1/2", Sch 40 | Lf | 12.56
154004520 | Stainless steel, 1", Sch 40 | Lf | 15.6
154004530 | Stainless steel, 2", Sch 40 | Lf | 26.91
154004610 | ABS, 2", Sch 40 | Lf | 5.48
154004620 | ABS, 4", Sch 40 | Lf | 11.53
154005110 | Gate valve, bronze, 1-1/2" | Ea | 135
154005120 | Gate valve, bronze, 2-1/2" | Ea | 335
154005130 | Gate valve, steel, 1-1/2" | Ea | 590
154005140 | Gate valve, steel, 2-1/2" | Ea | 640
154005150 | Globe valve, iron, 3" | Ea | 310
154005160 | Globe valve, iron, 6" | Ea | 795
154006110 | Floor drain, plastic, 3"x3" | Ea | 27
154006120 | Floor drain, cast iron, 3"x3" | Ea | 48.5
154006130 | Cleanout, cast iron, 3" | Ea | 112
154007110 | Water closet, with tank, floor | Ea | 285
154007120 | Water closet, with tank, wall | Ea | 395
154007130 | Urinal, wall hung, plastic pipe | Ea | 155
154007140 | Bath tub, 6' long, basic | Ea | 495
154007150 | Bath tub, 6' long, premium | Ea | 1000
154007160 | Tub and shower, premolded, acrylic | Ea | 485
154007170 | Shower stall, fiberglass | Ea | 690
154007180 | Lavatory, countertop, porcelain on CI | Ea | 335
154007190 | Faucet, kitchen, basic | Ea | 125
154007210 | Faucet, kitchen, premium | Ea | 300
154007220 | Faucet, bath, basic | Ea | 200
154007230 | Faucet, bath, premium | Ea | 355
154007240 | Sink, SS, kitchen, 1 bowl, basic | Ea | 230
154007250 | Sink, SS, kitchen, 1 bowl, premium | Ea | 485
154007260 | Sink, SS, kitchen, 2 bowl, basic | Ea | 315
154007270 | Sink, SS, kitchen, 2 bowl, premium | Ea | 640
154007280 | Sink, porcelain CI, kitchen, 1 bowl, basic | Ea | 200
154007290 | Sink, porcelain CI, kitchen, 1 bowl, premium | Ea | 385
154007310 | Sink, porcelain CI, kitchen, 2 bowl, basic | Ea | 285
154007320 | Sink, porcelain CI, kitchen, 2 bowl, premium | Ea | 565
154007330 | Water heater, electric, 30 gallon | Ea | 385
154007340 | Water heater, electric, 80 gallon | Ea | 690
154007410 | Drinking fountain, wall hung | Ea | 445
15500 | HEATING, VENTILATING, AIR CONDITIONING
155001250 | Unit heater, 125 Btu | Ea | 1125
155001270 | Furnace, 50 Btu | Ea | 840
155001310 | Boiler, Cast iron, gas, 240 Mbh | Ea | 3750
155001320 | Boiler, Cast iron, electric, 240 Mbh | Ea | 6900
155001450 | Exhaust fan, roof type, 600 cfm | Ea | 845
155002150 | Wood burning stove | Ea | 485
155002160 | Portable fireplace unit | Ea | 560
155002170 | Prefab fireplace unit | Ea | 1175
155003150 | Furnace, gas, 40 MBH | Ea | 690
155003160 | Furnace, gas, 60 MBH | Ea | 730
155003170 | Furnace, gas, 100 MBH | Ea | 900
155004110 | Pool heater, gas 120 MBH | Ea | 1250
155004150 | Wall heater, gas, 24 MBH | Ea | 485
155004180 | Humidifier, 30 Lb | Ea | 2300
155005110 | Tank, steel, 24 Gal | Ea | 355
155005150 | Heat pump, 2 Ton | Ea | 2500
155005160 | Heat pump, 5 Ton | Ea | 4560
155006110 | Air Conditioner, 3 Ton | Ea | 4050
155006120 | Air Conditioner, 5 Ton | Ea | 4970
155006210 | Thermostat, heat & cool | Ea | 110
155006220 | Thermostat, programmable | Ea | 200
15880 | AIR DISTRIBUTION
158801210 | Ductwork, galvanized steel | Lb | 5.9
158801220 | Ductwork, flexible, 6" dia | Lf | 5.35
158801350 | Damper, 12"x12" | Ea | 46
158801450 | Register, flush, 6"x12" | Ea | 33.25
158801460 | Air filter, electronic, 500 CFM | Ea | 795
158801470 | A/C control system | Ea | 2750
158801480 | Diffuser, alum, 12x12 | Ea | 97
158801490 | Grille, alum, 12x12 | Ea | 33.35

## Electrical
Costcode | Description | Unit
16 | ELECTRICAL
16050 | BASIC ELECTRICAL MATERIALS
160501110 | Galvanized steel conduit, 1/2" | Lf | 2.75
160501120 | Galvanized steel conduit, 1" | Lf | 4.56
160501130 | Galvanized steel conduit, 2" | Lf | 8.45
160501140 | Galvanized steel conduit, 1/2", elbow | Ea | 9.48
160501150 | Galvanized steel conduit, 1", elbow | Ea | 12.86
160501160 | Galvanized steel conduit, 2", elbow | Ea | 28.1
160501210 | EMT conduit, 1/2" | Lf | 1.79
160501220 | EMT conduit, 1" | Lf | 3
160501230 | EMT conduit, 2" | Lf | 5.64
160501240 | EMT conduit, 1/2", elbow | Ea | 7.43
160501250 | EMT conduit, 1", elbow | Ea | 10.5
160501260 | EMT conduit, 2", elbow | Ea | 36.3
160501310 | PVC conduit, 1/2" | Lf | 1.59
160501320 | PVC conduit, 1" | Lf | 2.5
160501330 | PVC conduit, 2" | Lf | 3.84
160501340 | PVC conduit, 1/2", elbow | Ea | 4.61
160501350 | PVC conduit, 1", elbow | Ea | 6.75
160501360 | PVC conduit, 2", elbow | Ea | 13.58
160501410 | Aluminum conduit, 1/2" | Lf | 2.5
160501420 | Aluminum conduit, 1" | Lf | 4.15
160501430 | Aluminum conduit, 2" | Lf | 7.95
160501510 | Conduit support, 1/2" | Ea | 11.5
160501520 | Conduit support, 1" | Ea | 13.85
160501530 | Conduit support, 2" | Ea | 17.68
160501610 | Channel strap, 1/2" | Ea | 1.5
160501620 | Channel strap, 1" | Ea | 2.15
160501630 | Channel strap, 2" | Ea | 2.75
160502110 | Electrical Duct, 4"x4", 1' | Ea | 20
160502120 | Electrical Duct, 4"x4", 3' | Ea | 36.3
160502210 | Cable tray, 4" wide | Lf | 15.89
160502220 | Cable tray, 6" wide | Lf | 29
160502310 | Copper service wire, 12 gauge | Lf | 0.43
160502320 | Copper service wire, 8 gauge | Lf | 0.82
160502330 | Copper service wire, 4 gauge | Lf | 1.33
160502410 | Aluminum service wire, 6 gauge | Lf | 0.67
160502420 | Aluminum service wire, 4 gauge | Lf | 1.05
160502430 | Aluminum service wire, 2 gauge | Lf | 1.49
160503110 | Copper conductor, #14 stranded | Lf | 0.3
160503120 | Copper conductor, #12 stranded | Lf | 0.37
160503130 | Copper conductor, #10 stranded | Lf | 0.54
160503550 | Aluminum conductor, #6 | Lf | 0.56
160503560 | Aluminum conductor, #4 | Lf | 0.73
160503570 | Aluminum conductor, #2 | Lf | 0.97
160504110 | Romex cable, #14, 2 conductor | Lf | 1.23
160504120 | Romex cable, #12, 2 conductor | Lf | 1.42
160504130 | Romex cable, #10, 2 conductor | Lf | 1.65
160504150 | Romex cable, #14, 3 conductor | Lf | 1.49
160504160 | Romex cable, #12, 3 conductor | Lf | 1.6
160504170 | Romex cable, #10, 3 conductor | Lf | 1.9
160504210 | Pull box, galvanized, 4"x4"x4" | Ea | 12.8
160504220 | Pull box, galvanized, 6"x6"x4" | Ea | 16.75
160504250 | Electrical receptacle, 125 v, 20 amp, duplex | Ea | 16.75
160504260 | Electrical receptacle, 250 v, 20 amp, duplex | Ea | 24.8
160504270 | Electrical switch, 20 amp, 2 pole | Ea | 16.8
160504310 | Dimmer switch, 600 w | Ea | 24.5
160504410 | Ground rod, copper, 3/4", 8' long | Ea | 33.35
160504510 | Wiring, 110 V outlet | Ea | 43.5
160504520 | Wiring, 220 V outlet | Ea | 180
160504530 | Wiring, switch device | Ea | 59
160504540 | Wiring, receptacle device | Ea | 59
160504550 | Wiring, burgler alarm, 2 control | Ea | 384.38
160504560 | Wiring, door bell | Ea | 148
16200 | POWER GENERATION
162001210 | Circuit breaker, 120 v, 20 amp, 1 pole | Ea | 22
162001220 | Circuit breaker, 120 v, 20 amp, 2 pole | Ea | 33.35
162001310 | Fuse, 250 v, 30 amp | Ea | 3.35
162001320 | Fuse, 250 v, 100 amp | Ea | 10.5
16500 | LIGHTING
165001210 | Fluorescent lighting, surface, 2 x 40 w | Ea | 87.5
165001220 | Fluorescent lighting, surface, 4 x 40 w | Ea | 130
165001230 | Fluorescent lighting, 2,x2', 2x40 W | Ea | 117
165001240 | Fluorescent lighting, 4'x4', 4x40 W | Ea | 275
165001250 | Fluorescent lighting, strip, 4' | Ea | 97
165001260 | Fluorescent lighting, strip, 8' | Ea | 120
165002110 | Metal halide, 250 w | Ea | 540
165002120 | Recessed spotlight, basic | Ea | 87
165002130 | Recessed spotlight, premium | Ea | 149
165002140 | Wall fixture, exterior | Ea | 37.5
165002250 | Incandescent, reflector, 100 W | Ea | 89
165002260 | Recessed lighting | Ea | 77
165002310 | Heat lamp, 100 W | Ea | 87.5
165002410 | Chandelier | Ea | 485
165003110 | Yard lighting, sodium flood, 100 w | Ea | 345
165003120 | Yard lighting, metal halide flood, 400 w | Ea | 580
16600 | SPECIAL SYSTEMS
166001220 | Exhaust fan | Ea | 170
166001230 | Ceiling fan | Ea | 435
166001410 | Uninterruptible power supply, 10 kva | Ea | 17900
16700 | COMMUNICATIONS
167001210 | Fire alarm system, 8 zone panel | Ea | 640
167001220 | Fire alarm cabinet | Ea | 510
167001230 | Fire alarm master box | Ea | 1310
167001410 | Closed circuit TV, cabling | Lf | 0.45
167001420 | Black and white monitor | Ea | 435
167001430 | Closed circuit, termination box | Ea | 38
167001510 | Computer network ethernet coax 10B2 | Lf | 0.77
167001520 | Computer network shielded twisted pair | Lf | 2.31
167001540 | Cable connector, ethernet, coax | Ea | 21.5
167001550 | Cable connector, twisted pair | Ea | 36.5
16850 | ELECTRIC RESISTANCE HEATING
168502110 | Baseboard heater, 4', 750 w | Ea | 112
168502120 | Baseboard heater, 6', 1100 w | Ea | 180
168502130 | Unit heater, wall mounted, 1500 w | Ea | 250

## Quote
QUOTE
<Work description>
1. Scope of Work. Contractor agrees to furnish all labor, services, materials, installation, supplies, insurance, equipment, tools and other facilities required for the prompt and efficient execution of the work described herein in a professional and workmanlike manner.
2. Quote Amount. Owner agrees to pay Contractor for the strict performance of his work, the sum as indicated above subject to additions and deductions for changes in the scope of work as may be subsequently agreed upon.
3. Payment Schedule. Owner agrees to pay Contractor in progress payments as follows:
Payment #1 - Upon start of project.
Payment #2 - Upon 40% completion.
Payment #3 - Upon 60% completion.
Payment #4 - Upon 80% completion.
Payment #5 - Upon 100% completion.
4. Work Schedule. Contractor shall complete the work as required by the work schedule prepared by the Contractor, which is agreed to be no more than:
<90 days>
from the start date of the project. Work schedule may be amended based on additional work inclusions and deductions and by agreement between the Owner and Contractor.
The parties hereto have executed this Agreement for themselves, their heirs, executors, successors, administrators, and assignees on the day and year written below.
Signed:
Contractor
By: <Contractor Name>
Company: <Company Name>
Title: <Contractor Title> License No: <License No.>
Date:________________________________
Accepted By:
Owner
By: <Owner Name>
Date:________________________________